1.  Enclosure, Type EPH

# These devices are enclosure for manual motor starter MMS-32H/HI.

1.1  General – Fig.1 represents the entire EPH Series

[Fig 1]  EPH32-65S

1.2. Component : EPH32-65S

[Fig 2]  EPH32-65S

1.3  Construction details:

1.3.1 General - The details of construction are covered in fig. 2

1.3.2  Corrosion Protection - All parts of corrosion resistant materials or painted

or plated as corrosion protection.

1.3.3  Tolerances - Dimensions are nominal unless specified otherwise.

1.4 Nominal breakdown :

1.5 Technical Data

1.6 Demension

# Text boxes

5

6

3

4

1

2

Example

-

E

Material

Enclosure

P    Plastic

M   Metallic

P

H   Handle

S   Seesaw

H

Operating

- MMS-32AF

- MMS-63AF

100   MMS-100AF

32

Frame size

- IP 65

65

IP grade

S   Surface

F   Flush

S

Mounting

Name

EPH32-65S

Type

Degree of protection

IP 65

Locking device

none

Motor starter size

MMS-32H/HI

Mounting

Surface

Material of insulation

ABS

Molded-Plastic enclosure with rotary operating mechanism

7